Battery Energy Storage Systems (BESS)

Technologies • Key Players • Components • Component Suppliers  |  October 2026

1. BESS Technologies

| Technology | Type | Key Point |
| --- | --- | --- |
| LFP (Lithium Iron Phosphate) | Electrochemical – Li-ion | Dominant chemistry for grid & C&I BESS; safe, 6,000+ cycles |
| NMC (Nickel Manganese Cobalt) | Electrochemical – Li-ion | Higher energy density; older grid systems, residential |
| LTO (Lithium Titanate) | Electrochemical – Li-ion | Very fast charge, 15,000+ cycles; niche, costly |
| Sodium-ion (Na-ion) | Electrochemical | No lithium/cobalt; emerging low-cost alternative |
| Lead-acid / Advanced lead-carbon | Electrochemical | Legacy UPS & telecom backup; low cost, short life |
| Vanadium Redox Flow (VRFB) | Flow battery | Long duration (4–12 h), 20+ yr life, non-flammable |
| Zinc-bromine / Iron flow | Flow battery | Long-duration, low-cost electrolyte |
| Sodium-sulphur (NaS) | High-temperature | Large utility storage (NGK), runs at ~300 °C |
| Solid-state Li | Next-gen | Higher safety & density; mostly R&D/pilot stage |
| Metal-air (Zinc-air, Iron-air) | Next-gen | 100-hour multi-day storage (e.g. Form Energy) |

2. Top BESS Companies – Global

| # | Company | Country | Highlight |
| --- | --- | --- | --- |
| 1 | Sungrow | China | Integrator + PCS; #1 in Wood Mackenzie 2026 ranking |
| 2 | Tesla Energy | USA | Megapack; ~46.7 GWh deployed in 2025 |
| 3 | CATL | China | World’s largest storage cell maker; TENER systems |
| 4 | BYD | China | Largest by shipments in 2025 (>60 GWh); MC Cube, HaoHan |
| 5 | Envision / Trina Storage | China | Utility-scale integrators |
| 6 | Fluence (Siemens–AES) | USA | Gridstack platform, strong in US/Europe/Australia |
| 7 | LG Energy Solution | Korea | Cells + Vertech integration |
| 8 | Wärtsilä | Finland | Quantum platform + GEMS software |
| 9 | HyperStrong, CRRC Zhuzhou, Hithium | China | Fast-rising integrators / cell makers |
| 10 | Canadian Solar (e-Storage) | Canada/China | SolBank systems |

Ranking order per Wood Mackenzie Global BESS Integrator Ranking (July 2026); BYD led by shipped volume in 2025 (Benchmark).

3. Top BESS Companies – India

| Company | Role in BESS |
| --- | --- |
| Tata Power / Agratas (Tata) | Utility BESS projects; Agratas Li-ion cell gigafactory |
| Reliance New Energy | Battery giga-factory (Jamnagar), LFP & sodium-ion |
| Exide Industries (Exide Energy Solutions) | Li-ion cell plant, Bengaluru; BESS packs |
| Amara Raja Energy & Mobility | Li-ion cell/pack giga-factory, Telangana |
| Ola Electric (Gigafactory) | Own 4680 cells; stationary storage plans |
| JSW Energy / JSW Neo | Large utility BESS developer, cell plant planned |
| Waaree Energies | Solar + BESS integration, cell plant plans |
| Adani Green / Adani New Industries | Large co-located BESS projects |
| Sterling & Wilson Renewable | BESS EPC |
| Avaada, ReNew, Greenko, NTPC | Developers of utility-scale BESS tenders |
| Servotech, Luminous, Sungarner, Loom Solar | C&I / small BESS integrators |
| Hitachi Energy India, Siemens India, L&T | EPC, PCS & grid integration |

4. Components of a BESS

| Component | Function |
| --- | --- |
| Battery cell | Basic storage unit (LFP prismatic 280–600 Ah+) |
| Battery module & pack | Cells joined via busbars with sensing harness |
| Battery rack / cluster | Modules stacked in series with HV box |
| BMS (Battery Management System) | Cell monitoring, balancing, protection (3-level) |
| PCS / Inverter | DC↔AC bi-directional power conversion |
| EMS / SCADA | Energy management, dispatch, grid communication |
| Thermal management (HVAC / liquid cooling) | Chillers, cold plates, coolant pumps |
| Fire detection & suppression | Gas/smoke sensors, aerosol / water / Novec systems |
| Container / enclosure | 20/40 ft ISO containers, IP55 cabinets |
| Transformer & MV switchgear | Steps voltage up to grid level |
| DC combiner, fuses, contactors, cables | Protection & power distribution |
| Cell raw materials | LFP cathode, graphite anode, separator, electrolyte, copper/Al foil |

5. Component Makers – Global & India

| Component | Global Companies | Indian Companies |
| --- | --- | --- |
| Cells | CATL, BYD, EVE, Hithium, REPT, CALB, Gotion, LGES, Samsung SDI, Panasonic | Tata Agratas, Reliance, Exide Energy, Amara Raja, Ola Electric, Lohum |
| BMS | Nuvation, Sensata, Texas Instruments, Analog Devices, NXP, Kehua | Ion Energy, Exicom, Napino, Tata Elxsi |
| PCS / Inverter | Sungrow, Huawei, SMA, Power Electronics, Sineng, ABB, Dynapower | Delta India, Hitachi Energy, Siemens, Servotech, Statcon |
| EMS / Controls | Fluence Mosaic, Tesla Autobidder, Wärtsilä GEMS, Siemens, Schneider | Hitachi Energy India, Siemens India, L&T, ABB India |
| Thermal mgmt. | Envicool, Tongfei, Vertiv, Modine, Trane | Blue Star, Voltas, Kirloskar, Vertiv India |
| Fire safety | Fike, Honeywell, Stat-X, Johnson Controls, Firetrace | Ceasefire, Minimax India, Kanex, Honeywell India |
| Container / enclosure | CIMC, Singamas, Rittal | Local container & enclosure fabricators |
| Transformer & switchgear | Siemens, ABB/Hitachi Energy, Schneider, TBEA, Eaton | CG Power, Voltamp, Siemens India, Hitachi Energy India, L&T |
| Cables & connectors | Prysmian, Nexans, Amphenol, Stäubli | Polycab, KEI, Havells, RR Kabel |
| Cathode / anode / separator | Hunan Yuneng, Dynanonic, BTR, Shanshan, SEMCORP | Himadri, Epsilon Advanced, Altmin, Tata Chemicals, Gujarat Fluorochemicals |

Note: Indian cell manufacturing is ramping up under the PLI-ACC scheme; most cells for Indian BESS are still imported from China.