## Installed BESS
BESS Installed in Delhi NCR – Ratings & Contacts
Compiled 30 Oct 2026 from public news/press releases (see Sources). Contacts are official corporate channels only – no personal numbers. Utility substations need prior written permission to visit.
# | Site / Location | Area (NCR) | Power (MW) | Energy (MWh) | Duration (h) | Technology | Commissioned | Owner / Developer | Integrator / Supplier | Discom / Grid | Who to contact for visit | Contact channel (verify before use) | Status | Notes | Phone / Mobile (officially published)
1 | BRPL 33/11 kV Kilokari substation (Ashram–Kilokri) | South Delhi | 20 | 40 | 2 | LFP, 12 liquid-cooled containers | Apr 2025 (inaugurated 29 May 2025) | Kilokari BESS Pvt Ltd (SPV of IndiGrid + AmpereHour); 70% funding support GEAPP | AmpereHour Energy (turnkey, ELINA EMS) | BSES Rajdhani Power Ltd (BRPL) | BRPL – Corporate Communications / BESS project team; IndiGrid asset team; AmpereHour project team | bsesdelhi.com (BRPL); BSES helpline 19123; indigrid.co.in; amperehourenergy.com | Operational | India's first DERC-approved commercial standalone BESS; 2 h day + 2 h night supply; ~1 lakh residents; 12-yr life | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123
2 | Tata Power-DDL Rohini substation | North-West Delhi | 10 | 10 | 1 | Li-ion, Fluence Advancion | Feb 2019 | AES India + Mitsubishi Corporation | Fluence (Siemens–AES JV) | Tata Power Delhi Distribution Ltd (TPDDL) | TPDDL – Corporate Communications / Smart Grid & Innovation team | tatapower-ddl.com; TPDDL helpline 19124; fluenceenergy.com | Operational | India's first grid-scale BESS; peak management, frequency regulation, backup to critical loads | TPDDL toll-free 19124 / 1800-208-9124
3 | Tata Power-DDL Rani Bagh substation | North-West Delhi | 0.15 | 0.528 | 3.52 | Li-ion, containerised (community storage) | 2021 | Tata Power-DDL | Nexcharge (Exide–Leclanché JV) | TPDDL | TPDDL – Smart Grid / Innovation team | tatapower-ddl.com; helpline 19124 | Operational | India's first grid-connected community energy storage; good small-scale visit | TPDDL toll-free 19124 / 1800-208-9124
4 | TERI UI-ASSIST pilot BESS (multiple Delhi sites) | Delhi (discom feeders) |  | 0.41 | - | Battery storage pilots | ~2020–21 | TERI (UI-ASSIST, US–India programme) | BHEL | Delhi discoms | TERI – Energy/Power Division | teriin.org (Darbari Seth Block, IHC, Lodhi Road) | Pilot – confirm current status | Cumulative 410 kWh; exact sites not public – ask TERI | TERI 011-2468 2100 / 011-7110 2100 ¦ mailbox@teri.res.in
5 | BYPL solar + Li-ion microgrids at 4 BYPL offices | East Delhi |  |  | - | Rooftop solar + Li-ion BESS | Not published | BSES Yamuna Power Ltd (BYPL) | Not published | BYPL | BYPL – Corporate Communications | bsesdelhi.com (BYPL, Karkardooma); helpline 19122 | Operational (small) | Behind-the-meter; sizes not published | BYPL helpline 19122
6 | BYPL 5 × 200 kWh BESS (tender CMC/BY/20-21/RB/SV/29) | East / Central Delhi |  | 1 | - | BESS + allied equipment | Tendered FY2020-21 | BYPL | Not published | BYPL | BYPL – Contracts & Materials (CMC) | bsesdelhi.com tenders section | Status unconfirmed | Ask BYPL whether all 5 units were commissioned and where | BYPL helpline 19122
|  | TOTAL | 30.15 | 51.938
Rows 1–3 are the confirmed operating sites worth visiting. Rows 4–6 are small/pilot or unconfirmed – verify first.
Note: one 2025 magazine article claims BYPL installed 20 MW and 40 MW BESS – not found in any other source, so excluded.

## Upcoming BESS
Upcoming / Under-Tender BESS in Delhi NCR
Useful for meeting developers & EPCs now – sites under construction can sometimes be visited via the contractor.
# | Site | Area | Power (MW) | Energy (MWh) | Buyer / Discom | Developer / Status | Key date | Contact channel | Notes | Phone / Mobile (officially published)
1 | 33/11 kV Shivalik grid (Malviya Nagar) | South Delhi | 12.5 | 25 | BRPL | TERI tender Dec 2025; foundation stone laid | DERC approval 4 Nov 2025 | bsesdelhi.com; teriin.org | Part of 55.5 MW / 111 MWh batch | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123 ¦ TERI 011-2468 2100 / 011-7110 2100 ¦ mailbox@teri.res.in
2 | 66/11 kV G5 Matiala | South-West Delhi | 32 | 64 | BRPL | TERI tender Dec 2025 | DERC approval 4 Nov 2025 | bsesdelhi.com; teriin.org | Part of 55.5 MW batch (no foundation stone reported) | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123 ¦ TERI 011-2468 2100 / 011-7110 2100 ¦ mailbox@teri.res.in
3 | 66/11 kV G7 Dwarka | South-West Delhi | 4 | 8 | BRPL | TERI tender Dec 2025; foundation stone laid | DERC approval 4 Nov 2025 | bsesdelhi.com; teriin.org | Part of 55.5 MW batch | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123 ¦ TERI 011-2468 2100 / 011-7110 2100 ¦ mailbox@teri.res.in
4 | 66/11 kV Goyala Khurd | South-West Delhi | 7 | 14 | BRPL | TERI tender Dec 2025; foundation stone laid | DERC approval 4 Nov 2025 | bsesdelhi.com; teriin.org | Part of 55.5 MW batch | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123 ¦ TERI 011-2468 2100 / 011-7110 2100 ¦ mailbox@teri.res.in
5 | 66/11 kV G4 Dwarka | South-West Delhi | 5 | 10 | BRPL | Pace Digitek LoI (57.5 MW/115 MWh, 4 sites) | LoI Oct 2026 | pacedigitek.com | Rows 5–8 total 57.5 MW/115 MWh = Pace Digitek award (sites inferred from DERC order) | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123
6 | 66/11 kV G3 PPK Bindapur | West Delhi | 15 | 30 | BRPL | Pace Digitek LoI | LoI Oct 2026 | pacedigitek.com | Tariff ₹47.05 lakh/MW/yr | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123
7 | 66/11 kV Hari Nagar | West Delhi | 7.5 | 15 | BRPL | Pace Digitek LoI | LoI Oct 2026 | pacedigitek.com |  | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123
8 | 66/11 kV Sagarpur | South-West Delhi | 30 | 60 | BRPL | Pace Digitek LoI | LoI Oct 2026 | pacedigitek.com |  | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123
9 | DTL Pappankala-2 | South-West Delhi | 40 | 80 | BRPL | Approved; bidding via TERI | DERC approval Jun 2026 | bsesdelhi.com; teriin.org | Largest single Delhi site planned | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123
10 | Greater Noida standalone BESS | Greater Noida (UP) | 80 | 320 | Noida Power Co. Ltd (NPCL) | UPERC approved bid documents | 2026 | noidapower.com | 4-hour system; no capital subsidy | NPCL 0120-622 6666 (via directory – verify)
11 | TPDDL distribution-transformer BESS pilot (ADB grant) | North Delhi |  |  | TPDDL | ADB $2 m grant for pilot BESS | Announced | tatapower-ddl.com | Size not published | TPDDL toll-free 19124 / 1800-208-9124
|  | TOTAL | 233 | 626

## NCR Companies
Companies in / for Delhi NCR that can help (BESS)
'High' = most useful for site visits or deep technical access. Confirm addresses/emails on each company's own website before reaching out.
# | Company | Base (NCR) | Role in BESS | How they can help you | Relevant track record | Website / official channel (verify) | Priority | Phone / Mobile (officially published)
1 | GoodEnough Energy | Greater Noida HQ; 7 GWh gigafactory in Noida | BESS manufacturer (containers, C&I) | Factory visit, supplier quotes, manufacturing/costing insight | India's largest BESS factory (7 GWh, ₹450 cr), scaling to 25 GWh | goodenough.energy (verify) | High | Not published; finance@goodenough.energy; regd. office C-85, Sector 88, Noida 201305
2 | SPML Infra Ltd | New Delhi | EPC + local B-Vault pack manufacturing (Energy Vault licence) | Grid-scale EPC know-how, project visits | ₹1,128 cr 1 GWh BESS EPC for NTPC Barauni | spml.co.in; investor.relations@spml.co.in | High | Not published; investor.relations@spml.co.in
3 | ACME Solar Holdings | Gurugram (Haryana HQ) | IPP / developer | Large-scale project economics, FDRE/peak-power models | ~4.96 GWh operational BESS (Rajasthan) | acmesolar.in | Medium | Not published – use website contact form
4 | Exicom Tele-Systems | Gurugram | Li-ion storage for telecom & data centres; BESS MoU with EONEX | C&I / telecom storage, BMS | EV chargers + critical-power storage | exicom.in | Medium | Not published – use website contact form
5 | FuelON (AN3 Techno Power / GP Eco Solutions) | Noida | BESS production facility | Plant visit, small/mid BESS supply | New Noida BESS line | Search 'FuelON BESS Noida' | Medium | Not published – use website contact form
6 | Luminous Power Technologies | Gurugram | Inverters, Li-ion & home/C&I storage | Residential/C&I storage, dealer network | Large Indian battery/inverter brand | luminousindia.com | Low–Med | Not published – use website contact form
7 | Livguard Energy | Gurugram | Batteries & storage | C&I storage supply | ₹3,520 cr revenue (2024) | livguard.com | Low–Med | Not published – use website contact form
8 | Delta Electronics India | Gurugram (India HQ) | PCS / containerised BESS | Power conversion, integration | Containerised industrial BESS | deltaelectronicsindia.com | Medium | Not published – use website contact form
9 | Ornate Solar (UnityESS) | Gurugram | BESS brand / integrator (C&I) | C&I solar+storage design & quotes | UnityESS product line | ornatesolar.com | Medium | Not published – use website contact form
10 | Servotech Renewable Power | Delhi | BESS / solar / EV charger maker | Small–mid BESS, local support | Listed company with BESS line | servotech.in | Low–Med | Not published – use website contact form
11 | TERI (The Energy & Resources Institute) | New Delhi (Lodhi Road) | Bid process manager for all BRPL BESS tenders | Best door to site visits, data, research tie-up | Ran Kilokari, 55.5 MW and 57.5 MW tenders | teriin.org | High | TERI 011-2468 2100 / 011-7110 2100 ¦ mailbox@teri.res.in
12 | BSES Rajdhani (BRPL) | Nehru Place, New Delhi | Discom & BESS buyer | Permission to visit Kilokari & new sites | Kilokari 20 MW/40 MWh + ~150 MW pipeline | bsesdelhi.com; 19123 | High | BRPL office 011-49209999 ¦ Helpline 19123 ¦ WhatsApp 8800919123
13 | Tata Power-DDL | Pitampura / Rohini, Delhi | Discom & host of Rohini BESS | Permission to visit Rohini & Rani Bagh | 10 MW/10 MWh (2019), 528 kWh community BESS | tatapower-ddl.com; 19124 | High | TPDDL toll-free 19124 / 1800-208-9124
14 | Noida Power Co. (NPCL) | Greater Noida | Discom; 80 MW/320 MWh buyer | Upcoming site, tender info | UPERC-approved BESS tender | noidapower.com | Medium | 0120-622 6666 (via directory – verify)
15 | AmpereHour Energy (outside NCR – Pune) | Pune; Delhi project team | Integrator of Kilokari | Technical walkthrough at Kilokari | ~100 MWh commissioned; 180 MW/360 MWh Gujarat | amperehourenergy.com | High | Not published – use website contact form
16 | IndiGrid (outside NCR – Mumbai) | Mumbai | Owner of Kilokari SPV | Asset-owner view, BESSA tariff model | Kilokari + 180 MW/360 MWh Gujarat | indigrid.co.in | Medium | Not published – use website contact form
17 | Pace Digitek (outside NCR – Bengaluru) | Bengaluru | Developer of BRPL 57.5 MW/115 MWh | Upcoming Delhi sites; 5 GWh BESS manufacturing | BRPL LoI Oct 2026 | pacedigitek.com | Medium | Not published – use website contact form

## Gurgaon-Faridabad
BESS in Gurgaon & Faridabad (Haryana NCR)
As of 30 Oct 2026, no utility-scale BESS is publicly reported as installed inside Gurugram or Faridabad. Both cities are served by DHBVN, whose first BESS tenders are sited elsewhere in Haryana. Rooftop/C&I batteries exist in malls, offices and data centres but sizes aren't published – ask the suppliers below for reference sites.
# | Project / Company | Location | Power (MW) | Energy (MWh) | Owner / Buyer | Status | Phone / contact (official) | Notes
1 | DHBVN 10 MW/20 MWh standalone BESS (VGF) | 33 kV Jaglan, Khera, Siwani, Bhiwani + others | 10 | 20 | DHBVN | Tender (bids Sep 2025); Haryana targets commissioning by Jul 2027 | dhbvn.org.in; DHBVN helpline 1912 | First Haryana discom BESS; not in Gurugram/Faridabad
2 | DHBVN 4 × 2.5 MW/5 MWh BESS (RfS 7/DHBVNL/BESS/Ph-I) | 33 kV substations, DHBVN & UHBVN areas (sites not named) | 10 | 20 | DHBVN | Tendered Aug 2025 | dhbvn.org.in; helpline 1912 | Ask DHBVN if any site is in Gurugram/Faridabad circles
3 | SJVN 265 MW/530 MWh standalone BESS | Panipat Thermal Power Station (~100 km from Gurgaon) | 265 | 530 | SJVN / Haryana | Awarded to NLC India Renewables (Sep 2026) | sjvn.nic.in; nlcindia.in | Largest Haryana BESS; under development
4 | ACME Solar Holdings (HQ) | Gurugram | — | — | Developer | ~4.96 GWh BESS operating in Rajasthan | acmesolar.in – contact form | Best Gurgaon-based utility BESS contact
5 | Exicom Tele-Systems | Gurugram | — | — | Telecom/data-centre Li-ion storage | Active | exicom.in – contact form | Can show C&I/telecom installs in Gurgaon
6 | Delta Electronics India | Gurugram | — | — | PCS, containerised BESS | Active | deltaelectronicsindia.com | Power conversion side
7 | Luminous Power Technologies | Gurugram | — | — | Home/C&I Li-ion storage | Active | luminousindia.com | Large dealer network
8 | Livguard Energy | Gurugram | — | — | Batteries & storage | Active | livguard.com | —
9 | Ornate Solar (UnityESS) | Gurugram | — | — | C&I BESS integrator | Active | ornatesolar.com | Ask for Gurgaon C&I reference sites
10 | Loom Solar | Faridabad (Haryana) | — | — | Solar + BESS for homes, offices, hospitals, schools | Active | loomsolar.com – contact form | Faridabad-based; does site assessment visits
11 | PURE Energy (PuREPower) | Serves Gurugram | — | — | Residential BESS | Active | 92400 45993 / 92400 38453; WhatsApp 90591 02777 | Numbers from its Gurugram service page

## Visit Plan
How to arrange visits
Substations are restricted premises – always get written approval first.
Step | Action | Detail
1 | Shortlist | Start with Kilokari (BRPL, 20 MW) and Rohini (TPDDL, 10 MW) – the only two grid-scale sites operating in Delhi.
2 | Write formal request | Email the discom's corporate communications with: your name, organisation/college, purpose (research/costing study), date options, group size, ID. Ask for a supervised visit.
3 | Use TERI as a door | TERI manages BRPL's BESS tenders – a research request through TERI often gets faster utility access.
4 | Go via the integrator | AmpereHour (Kilokari) and Fluence (Rohini) do O&M – a technical contact there can sponsor a walk-through.
5 | Factory visit | GoodEnough Energy (Noida) – easiest physical visit; see cells → modules → containers; ask about BOM and costing.
6 | Under-construction sites | Matiala, Dwarka, Goyala Khurd, Shivalik and Pace Digitek sites – contact EPC contractor once named.
7 | Carry | Govt ID, safety shoes, written approval; no photos inside substation unless allowed.
8 | Questions to ask | Cell chemistry & supplier, PCS rating, round-trip efficiency, augmentation plan, fire suppression, capex ₹/MWh, tariff (₹/MW/month), O&M cost, degradation data.

## Sources
Sources
All accessed 30 Oct 2026
Item | URL
Kilokari 20 MW/40 MWh – inauguration (PTI / The Week) | https://www.theweek.in/wire-updates/business/2025/05/29/des64-dl-power-battery-storage.html
Kilokari – AmpereHour commissioning (Saur Energy) | https://www.saurenergy.com/ev-storage/amperehour-commissions-bess-for-indigrid-at-brpl-delhi
Kilokari – SPV ownership (pv magazine) | https://www.pv-magazine.com/2024/05/08/indias-first-utility-scale-standalone-storage-project-gets-regulatory-nod
Kilokari – LFP, 12-yr life (SolarQuarter) | https://solarquarter.com/2025/03/18/indias-first-commercially-approved-20-mw-standalone-battery-energy-storage-system-to-go-live-in-delhi/
Rohini 10 MW/10 MWh (Fluence) | https://blog.fluenceenergy.com/south-asia-largest-energy-storage-system-india
Rohini (TaiyangNews) | https://taiyangnews.info/markets/tata-power-gets-10-mw-energy-storage-system-for-delhi
Rani Bagh community BESS (Energy-Storage.news) | https://www.energy-storage.news/indias-first-grid-connected-community-energy-storage-system-inaugurated-in-delhi
BHEL TERI UI-ASSIST 410 kWh (pv magazine India) | https://www.pv-magazine-india.com/region/delhi/page/4
BYPL microgrids (pv magazine India) | https://www.pv-magazine-india.com/tag/bses-yamuna-power-limited-bypl
BYPL 5x200 kWh tender (BSES) | https://www.bsesdelhi.com/documents/73527/2497782/Replies_to_bidders_queries_BESS_NIT29.pdf
BRPL 55.5 MW/111 MWh sites (Daily Pioneer) | https://www.dailypioneer.com/2025/state-editions/brpl-gears-up-to-expand-battery-storage-system-across-key-areas.html
Foundation stones Shivalik/Dwarka/Goyala Khurd (Saur Energy) | https://www.saurenergy.com/solar-energy-news/delhi-cm-rekha-gupta-lays-foundation-stone-for-555-mw111-mwh-bess-projects-11160689
BRPL 97.5 MW/195 MWh sites (Power Peak Digest) | https://powerpeakdigest.com/derc-approves-brpl-97-5mw-195mwh-bess/
Pace Digitek 57.5 MW/115 MWh LoI (Renewable Watch) | https://renewablewatch.in/2026/10/09/pace-digitek-bags-115-mwh-bess-project-from-brpl/
NPCL 80 MW/320 MWh Greater Noida (Mercom) | https://www.mercomindia.com/uperc-approves-320-mwh-battery-storage-procurement-without-capital-subsidy
TPDDL ADB BESS pilot (Tata Power) | https://www.tatapower.com/news-and-media/media-releases/adb-tata-power-sign-deal-to-enhance-delhis-power-distribution-through-grid-enhancements-and-battery-energy-storage-system
GoodEnough Noida gigafactory (Renewable Watch) | https://renewablewatch.in/2026/01/21/goodenough-energy-operationalises-7-gwh-bess-gigafactory-in-noida/
SPML Infra – Energy Vault (Saur Energy) | https://www.saurenergy.com/ev-storage/spml-infra-in-tie-up-with-energy-vault-to-make-deploy-batteries-in-india
SPML Infra NTPC 1 GWh (T&D India) | https://www.tndindia.com/tag/energy-vault/
ACME Solar 4.96 GWh (ESS News) | https://www.ess-news.com/2026/10/02/acme-solar-commissions-107-mw-437-mwh-of-bess-in-india/
Exicom Gurugram (Power Peak Digest) | https://powerpeakdigest.com/exicom-and-eonex-energy-sign-mou-to-deploy-bess-projects/
FuelON Noida BESS (Machinist) | https://machinist.in/tag/bess/page/2/
BESS companies list (Blackridge Research) | https://www.blackridgeresearch.com/blog/latest-list-of-top-largest-bess-battery-energy-storage-system-companies-manufacturers-india
BRPL contact page | https://www.bsesdelhi.com/web/brpl/about-us
TPDDL website (toll-free) | https://www.tatapower-ddl.com/
TERI contact page | https://teriin.org/contact
GoodEnough registered details (Tofler) | https://tofler.in/good-enough-energy-private-limited/company/U35105UP2023PTC184184
NPCL number (directory – verify) | https://www.indiacustomercare.com/noida-power-company-limited-npcl-contact-no-0120-622-6666
DHBVN 10 MW/20 MWh BESS tender (Saur Energy) | https://www.saurenergy.com/solar-energy-news/haryana-discom-floats-first-10-mw20-mwh-bess-tender-with-vgf-support-9674182
DHBVN 4 x 2.5 MW BESS tender (SolarQuarter) | https://solarquarter.com/2025/08/19/haryana-issues-tender-for-four-2-5mw-5-mwh-battery-energy-storage-projects-to-strengthen-power-grid/
Haryana 20 MWh by Jul 2027 (T&D India) | https://www.tndindia.com/haryana-to-commission-20-mwh-vgf-backed-bess-capacity-by-july-2027/
SJVN 265 MW BESS awarded to NIRL (Renewable Watch) | https://renewablewatch.in/2026/09/28/nirl-wins-sjvns-265-mw-bess-auction/
SJVN BESS at Panipat TPS (Construction World) | https://www.constructionworld.in/policy-updates-and-economic-news/sjvn-invites-bids-for-265-mw-bess-at-panipat-thermal-power-station/95212
PURE Energy Gurugram page | https://www.pureenergy.co.in/residential-bess-energy-storage/haryana/gurugram
Loom Solar Faridabad (WindySolar) | https://windysolar.com/bess-company-in-faridabad-haryana/