## Summary
ELIIY Power (Japan) – Product, Application & Cost Benchmark
Prepared 26 Oct 2026. Tabs: Product Specs · Where Used · Price Comparison · Market Benchmarks · Assumptions · Sources
| Key figure | Value | Comment
| Product families | 4 | LFP cells · motorcycle starters · home/office ESS · C&I ESS
| Active products listed | 14 | Plus custom 270 kWh build; 4 end-of-life lines
| POWER YIILE 3 – price (₹) | 670097.12 | ¥1,097,800 retail incl. tax, converted at Assumptions FX
| POWER YIILE 3 – ₹/kWh | 268038.848 | Premium, Japan-made, 12,000-cycle, SiC inverter
| Chinese OEM portable ESS – ₹/kWh (est.) | 19356 | Factory ODM estimate
| ELIIY vs Chinese portable (x) | 13.8478 | How many times costlier ELIIY is
| Home 5 kWh – India ₹/kWh | 23611.1111 | Luminous / Exide LFP, retail range mid
| Home 5 kWh – China ₹/kWh | 14299.7827 | Factory price, MOQ 100+
| C&I ESS – India ₹/kWh | 30000 | Turnkey 1 MWh
| C&I ESS – China ₹/kWh | 7742.4 | System price, ex-works
| HY93-C starter vs Indian lead-acid (x) | 14.9981 | ELIIY Li-ion vs Exide VRLA 7 Ah
Takeaways
1. ELIIY's edge is safety and life, not price: cells pass nail/crush with no fire, rated 17,000 cycles to 70%, and carry 15-yr warranties.
2. On cost it is far above both India and China – POWER YIILE 3 is roughly an order of magnitude dearer per kWh than Chinese ODM portable units.
3. Motorcycle starters are its main OEM foothold (Honda, Suzuki); in India 2W OEMs still fit lead-acid at ~₹1,400–2,000 per unit.
4. Indian C&I storage (≈₹30k/kWh turnkey) is still ~3–4x Chinese ex-works system prices, largely because cells are imported.
5. Yellow cells in Price Comparison are estimates – confirm with supplier RFQs before using in a should-cost.

## Assumptions
Assumptions – Exchange Rates
Blue = editable input. Change these and every ₹ figure in the workbook updates.
Item | Value | Unit | Source / note
USD → INR | 96.78 | ₹ per USD | banklive.net mid-market, 10 Oct 2026 (S40)
JPY → INR | 0.6104 | ₹ per JPY | banklive.net mid-market, 10 Oct 2026 (S40)
USD → CNY | 7.14 | CNY per USD | Implied by InfoLink: CNY 0.300/Wh ≈ $42/kWh (S33)
EUR → USD | 1.09 | USD per EUR | ESTIMATE – verify before use
FX lookup table (used by formulas)
Currency | ₹ per 1 unit
INR | 1
USD | 96.78
JPY | 0.6104
CNY | 13.5546
EUR | 105.4902

## Product Photos
ELIIY Power – Product Photos
Official ELIIY Power images, loaded live with =IMAGE() (Excel 365 / Excel web / Excel mobile). Other apps show the link – tap it to view.
Product | Photo | Category | Official image link | Product page
HY battEliiy P-series (HY85S / HY93-C / HY110) | Photo loads in Excel 365 – use link → | Motorcycle starter | View photo | Product page
HY battEliiy P-series (lineup banner) | Photo loads in Excel 365 – use link → | Motorcycle starter | View photo | Product page
HY93SS / HY110SS (Suzuki) | Photo loads in Excel 365 – use link → | Motorcycle starter | View photo | Product page
Charger C-1401B | Photo loads in Excel 365 – use link → | Accessory | View photo | Product page
POWER YIILE 3 | Photo loads in Excel 365 – use link → | Portable indoor ESS | View photo | Product page
POWER iE5 GRID | Photo loads in Excel 365 – use link → | Home hybrid ESS | View photo | Product page
270 kWh custom system | Photo loads in Excel 365 – use link → | Large custom ESS | View photo | Product page
Power Storager 10 (end-of-life) | Photo loads in Excel 365 – use link → | C&I ESS | View photo | Product page
ELIIY ONE (end-of-life) | Photo loads in Excel 365 – use link → | Portable power bank | View photo | Product page
No official photos online for HEYA, Power Storager GX / X / D20 or the L-series cell – see their catalogues in the Sources tab.

## Product Specs
ELIIY Power – Product Specifications
All from ELIIY Power product pages, catalogues and press releases. Cell chemistry across the range: LFP (lithium iron phosphate).
# | Product | Model no. | Category | Status | Capacity | Usable / note | Voltage | Rated output | Other output / CCA | Charge time | Run time at rated | Size W×D×H (mm) | Weight | Operating temp | Life / warranty | Key features | Source
1 | HY battEliiy L-series cell | PD50S06 | Battery cell | Current | ≈155 Wh (≈48.5 Ah × 3.2 V) | Derived: 1C = 48.5 A; 1 cell = 155 Wh in ELIIY ONE | 3.2 V nominal (LFP) | 1C = 48.5 A | — | — | — | — | — | −20 to 60 °C | 17,000 cycles to 70% (1C, 3 cyc/day, 15 yrs); >80% at 12,000 cycles | TÜV-S certified (first large Li-ion cell); no smoke/fire on nail & crush test; made in Kawasaki | S10, S17, S19
2 | HY battEliiy P-series | HY85S | Motorcycle starter | Current | 2.0 Ah (≈24 Wh) | — | 12 V | — | CCA ≥55 A | — | — | 112 × 49 × 85 | 0.7 kg | −10 to 65 °C | 100,000+ start cycles (in-house test) | Built-in BMU, PPS resin case; starts at −10 °C; very low self-discharge | S2
3 | HY battEliiy P-series | HY93-C | Motorcycle starter | Current | 4.5 Ah (≈54 Wh) | — | 12 V | — | CCA ≥110 A | — | — | 112 × 70 × 93 | 1.1 kg | −10 to 65 °C | 100,000+ start cycles | For 3+ cylinder bikes with 13.8–14.7 V charging | S2, S4
4 | HY battEliiy P-series | HY110 | Motorcycle starter | Current | 6.0 Ah (≈72 Wh) | — | 12 V | — | CCA ≥120 A | — | — | 112 × 70 × 110 | 1.4 kg | −10 to 65 °C | 100,000+ start cycles | Designated charger C-1401B | S2, S4
5 | HY battEliiy P-series (Suzuki) | HY93SS | Motorcycle starter | Current (2025) | 4.5 Ah (≈54 Wh) | — | 12 V | — | CCA 100 A | — | — | 112 × 70 × 85 | 0.9 kg | −10 to 65 °C | 100,000+ start cycles | BMU-less 'SyncCell' self-balancing electrolyte; replaceable fuse SBFW-L(M6) | S3
6 | HY battEliiy P-series (Suzuki) | HY110SS | Motorcycle starter | Current | 6.0 Ah (≈72 Wh) | — | 12 V | — | CCA 120 A | — | — | 112 × 70 × 110 | 1.24 kg | −10 to 65 °C | 100,000+ start cycles | SyncCell, replaceable fuse | S3
7 | POWER YIILE 3 | PPS-30 | Portable indoor ESS | Current | 2.5 kWh | Plug-in, not grid-tied | AC 100 V in/out | 1.5 kVA / 1.4 kW | Solar input (direct) | ≈4 h (≈2 h fast mode) | ≈90 min | 320 × 585 × 514 | 52 kg | −10 to 40 °C | 12,000 cycles; 10-yr warranty; 10-yr use limit | SiC power devices, 38 dB, ELIIY CLOUD remote monitoring, no installation work | S5, S6
8 | POWER YIILE HEYA | PPS-40 | Wall-mount indoor ESS | Current | 1.3 kWh | 1.1 kWh effective (JEM1511) | AC 101 V | 500 VA / 500 W | — | ≈3 h | ≈120 min | 650 × 150 × 390 | ≈30 kg | — | — | For apartments; LTE + Bluetooth monitoring; ~15 s switchover | S8
9 | POWER YIILE HEYA S | PPS-40 | Portable indoor ESS | Current | 1.3 kWh | 1.1 kWh effective | AC 101 V | 500 VA / 500 W | — | ≈3 h | ≈120 min | 658 × 270 × 472 | ≈40 kg | — | 10-yr warranty | ≈0.004 s switchover (not a UPS); 38 dB | S9
10 | POWER iE5 GRID (1 unit) | EPS-40S | Home hybrid ESS (whole-house) | Current | 5.4 kWh | 4.9 kWh effective | 202 V / 101 V | Grid 8.4 kVA (8.0 kW) | Backup 5.5 kVA; PV in 8.6 kW, 4 strings, MPPT 30–450 V | ≈1–2 h | ≈50 min | Battery 610 × 300 × 991; PCS 445 × 198 × 698 | 125 kg + 33 kg | −20 to 45 °C (outdoor) | 15-yr capacity (70%) + 15-yr system warranty | Full-load backup incl. 200 V appliances; Ene-Farm link; AI-SOLA cloud control | S7
11 | POWER iE5 GRID (2 units) | EPS-40D | Home hybrid ESS (whole-house) | Current | 10.8 kWh | 2 battery units | 202 V / 101 V | Grid 8.4 kVA (8.0 kW) | Backup 5.5 kVA | ≈3–5 h | ≈100 min | 2 × battery units | 2 × 125 kg + 33 kg | −20 to 45 °C | 15-yr warranties | Second unit can be added later | S7
12 | Power Storager GX | — | C&I ESS | Current (Apr 2025) | 22.5 – 1,006.3 kWh | Modular | 1-ph 202/101 V; 3-ph 202 / 420 / 440 V | PCS 10 – 300 kW | PV MPPT 15 – 450 kW | — | — | Indoor / outdoor / salt-resistant cabinets | — | — | Cell: 17,000 cycles to 70% | All-in-one PCS, DC-link PV converter, EMS, UPS switch, isolation transformer; 100% made in Japan | S10, S20
13 | Power Storager X | — | C&I ESS | Current | 16.2 – 129.6 kWh | 16.2 kWh steps | 3-phase | 10 kW / 20 kW | Built-in PV PCS | — | — | — | — | — | Cell: 17,000 cycles to 70% | Peak-shift / peak-cut / backup; 3-ph in, 3-ph & 1-ph out | S11
14 | Power Storager D20 | SPS020S2-xxx | C&I backup ESS | Current (2021) | 21.7 / 43.4 / 65.1 kWh | 3 variants | 1-ph 100/200 V, 3-ph 200 V | 20 kVA | No-break UPS function | — | ≈65 / 130 / 195 min | — | — | — | — | Emergency power for offices, factories, warehouses | S12
15 | 270 kWh custom system | Custom | Large custom ESS | Custom-built | ≈270 kWh (2 × 136 kWh) | 896 cells per 136 kWh panel | — | 200 kVA per power panel | Paired with 70 kW PV | — | >4 h dry-room backup | — | — | — | — | Installed at ELIIY's Kawasaki cell plant | S14
16 | ELIIY ONE | — | Portable power bank | End-of-life | 155 Wh (48,500 mAh) | 1 L-series cell | USB | 10 × USB ports | Solar charging | — | LED 1.3 W ≈80 h | — | — | — | — | ≈20 phone charges; Good Design Best 100 (2014) | S15
17 | Power Storager 10 | — | C&I ESS | End-of-life | 14.7 / 29.4 / 44.1 / 58.8 kWh | 4 variants | — | 10 kVA | — | — | — | — | — | — | 10-yr inspection | Backup, peak-shift and solar self-run modes | S13
18 | POWER iE6 / iE6 HYBRID | — | Home ESS / solar hybrid | End-of-life | 6.2 kWh | — | 100 V backup | Battery out 2.0 kW, in 1.5 kW | Integrated solar PCS (HYBRID) | — | — | — | — | — | — | Installed in all 66 homes of a Daiwa House smart town (Mie) | S16
Grey rows = discontinued. Wh for starter batteries = 12 V × Ah (nominal). PD50S06 capacity is derived from the 48.5 A (1C) test current, not a published datasheet value.

## Where Used
ELIIY Power – Where the Products Are Used
Named OEMs and customers are those ELIIY Power or trade press have publicly disclosed.
Product | Segment | Typical application | Named OEMs / customers / sites | Source
HY85S | Motorcycle OEM (Honda) | Factory-fit starter on motocross race bikes | Honda CRF250R, CRF450R, CRF450RX; Monster Energy Honda Team (Dakar Rally 2021 win) | S2, S1
HY93-C | Motorcycle OEM + aftermarket | Factory-fit starter on superbikes / off-road | Honda CBR1000RR SP / SP2, CRF450L; sold in Japanese aftermarket from 2019 | S2, S4
HY110 | Motorcycle OEM + aftermarket | Factory-fit starter on adventure bikes | Honda CRF1000L Africa Twin | S2
HY93SS | Motorcycle OEM (Suzuki) | Genuine-part starter | Suzuki GSX-8T / GSX-8TT, GSX-R1000 / R1000R; Yoshimura SERT Motul endurance team | S3
HY110SS | Motorcycle OEM (Suzuki) | Genuine-part starter | Suzuki Hayabusa | S3
POWER YIILE 3 | Office BCP / public / home | Plug-in emergency power for phones, PCs, lights, fridge | NTT Docomo (~1,200 shops), Meiji Yasuda Life (102 branches), Daiwa House rental homes (every unit), 91 evacuation centres in Funabashi | S21, S22, S23
POWER YIILE HEYA / HEYA S | Apartments / small offices | Compact wall or floor backup for flats | Multi-family housing; Good Design Best 100 (2019) | S8, S9
POWER iE5 GRID | Detached homes | Solar self-consumption + whole-house outage backup | Japanese homes with rooftop PV; subsidy-eligible | S7
Power Storager GX / X / D20 | Commercial & industrial | Peak-cut, solar self-consumption, BCP, UPS | Hanshin Tigers farm 'Zero Carbon Baseball Park', Benesse Style Care elder homes, Cosmo Oil R&D centre (demand response); 1 MWh at ELIIY Kawasaki plant | S20, S10
270 kWh custom | Industrial | Critical-load backup for battery dry room | ELIIY Power Kawasaki cell plant | S14
L-series cells / packs | B2B cell supply | Cells inside partner storage systems | Enphase Energy AC Battery (8-cell 1.2 kWh modules); Daiwa House, Secom; Mazda / Ube joint work on car starter Li-ion | S18, S17, S4
Company | Strategic | Investor / partner | Suzuki (additional investment & business alliance, Nov 2023); other shareholders incl. Daiwa House, Toray, Alps Alpine | S42

## Price Comparison
ELIIY Power vs Indian OEM vs Chinese OEM – Rates
Yellow rows/cells = estimate (no published figure found). Blue = hardcoded input. ₹ conversions use Assumptions sheet.
# | Category | ELIIY model | Capacity (kWh) | ELIIY price | ELIIY ccy | ELIIY price basis | ELIIY (₹) | ELIIY ₹/kWh | Indian OEM equivalent | India low | India high | India ccy | India mid (₹) | India ₹/kWh | India basis | Chinese OEM equivalent | China low | China high | China ccy | China mid (₹) | China ₹/kWh | China basis | ELIIY ÷ China (x) | ELIIY ÷ India (x) | Sources
1 | Motorcycle starter 12 V ~4.5 Ah | HY93-C | 0.054 | 37790 | JPY | Japan aftermarket list, ex-tax (2019 launch) | 23067.016 | 427166.963 | Lead-acid VRLA 7 Ah (Exide Bikerz) – what Indian 2W OEMs fit today | 1386 | 1690 | INR | 1538 | 28481.4815 | Published dealer price (IndiaMART) | LiFePO4 starter 3–4 Ah, 180–240 CCA (e.g. Skyrich HJTX9/HJTZ10S class) | 15 | 25 | USD | 1935.6 | 35844.4444 | ESTIMATE – factory FOB; EU dealer price for same class is €45–70 | 11.9172 | 14.9981 | S4, S24, S25
2 | Motorcycle starter 12 V ~6 Ah | HY110 | 0.072 | 44460 | JPY | Japan aftermarket list, ex-tax (2019 launch) | 27138.384 | 376922 | Lead-acid VRLA 9 Ah (Exide Bikerz 12BV9-B) | 1800 | 2045 | INR | 1922.5 | 26701.3889 | Published dealer price (IndiaMART); low end estimated | LiFePO4 starter ~4–5 Ah, 240–290 CCA | 20 | 35 | USD | 2661.45 | 36964.5833 | ESTIMATE – factory FOB; EU dealer €70–86 | 10.1968 | 14.1162 | S4, S24, S25
3 | Portable indoor ESS ~2.5 kWh | POWER YIILE 3 | 2.5 | 1097800 | JPY | Retail incl. tax (BicCamera) | 670097.12 | 268038.848 | Indian LFP 2.4–2.5 kWh module (Livguard / LOOM Atom class) – battery only | 40000 | 65000 | INR | 52500 | 21000 | Published price range (battery only; add inverter) | LiFePO4 portable power station ~2.5 kWh (OEM/ODM) | 375 | 625 | USD | 48390 | 19356 | ESTIMATE – $0.15–0.25/Wh factory; branded retail ≈$0.41/Wh (EcoFlow River 2 Pro) | 13.8478 | 12.7638 | S5, S27, S28
4 | Wall-mount indoor ESS ~1.3 kWh | POWER YIILE HEYA | 1.3 |  | JPY | Not published – quote only | Quote only | – | Indian LFP ~1.3 kWh (pro-rata of ₹20k–35k/kWh) | 26000 | 45500 | INR | 35750 | 27500 | Derived from published ₹/kWh range | LiFePO4 wall battery ~1.3 kWh | 180 | 300 | USD | 23227.2 | 17867.0769 | ESTIMATE – pro-rata of 5 kWh factory pricing | – | – | S26, S29
5 | Home hybrid ESS 5 kWh class | POWER iE5 GRID (EPS-40S) | 5.4 |  | JPY | Not published – dealer quote only | Quote only | – | Luminous / Exide 5 kWh LFP | 105000 | 150000 | INR | 127500 | 23611.1111 | Published price range, Jun 2026 | 51.2 V 5.12 kWh all-in-one wall unit (LiFePower ALW-5kW) | 723 | 741 | EUR | 77218.8264 | 14299.7827 | Published factory price, MOQ 100+ (ENF) | – | – | S7, S26, S29
6 | Home hybrid ESS 10 kWh class | POWER iE5 GRID (EPS-40D) | 10.8 |  | JPY | Not published – dealer quote only | Quote only | – | Luminous / Exide 10 kWh LFP | 200000 | 290000 | INR | 245000 | 22685.1852 | Published price range, Jun 2026 | 2 × 5.12 kWh wall units | 1446 | 1482 | EUR | 154437.6528 | 14299.7827 | Derived: 2 × published unit price | – | – | S7, S26, S29
7 | C&I ESS (per kWh, turnkey) | Power Storager GX / X / D20 | 1 |  | JPY | Not published – project quote | Quote only | – | Indian 1 MWh C&I turnkey system | 28000 | 32000 | INR | 30000 | 30000 | Published: ₹2.8–3.2 cr per MWh, 2026 | Chinese C&I ESS (e.g. 261 kWh all-in-one cabinet) | 70 | 90 | USD | 7742.4 | 7742.4 | Published SMM range $0.07–0.09/Wh (BNEF avg $77/kWh) | – | – | S30, S31, S32
8 | LFP cells (per kWh) | HY battEliiy L-series PD50S06 | 1 |  | JPY | Not published | Quote only | – | Landed LFP cell / pack procurement in India (mostly imported) | 55 | 75 | USD | 6290.7 | 6290.7 | Published: IESA $55–60, Crisil $70–75/kWh (2026) | Chinese LFP storage cells (100 Ah → 314 Ah) | 360 | 443 | CNY | 5442.1807 | 5442.1807 | Published: CNY 0.360–0.443/Wh, Jul 2026 | – | – | S33, S34, S35, S36
Notes
• 'Indian OEM' for starters = lead-acid VRLA, because Indian 2-wheeler OEMs still factory-fit lead-acid; no published Indian OEM rate for Li-ion starters was found.
• Indian per-kWh figures are battery-only unless stated; ELIIY units include inverter/PCS, so like-for-like gap is somewhat smaller than shown.
• ELIIY sells mainly in Japan; prices for iE5 GRID, HEYA, GX/X/D20 and cells are quote-only. Rows show India vs China only for those.
• Starter-battery ₹/kWh is shown for completeness; compare starters per unit (CCA, weight, life), not per kWh.
Chart data – storage ₹/kWh (India vs China)
| Category | India ₹/kWh | China ₹/kWh
| Portable ~2.5 kWh | 21000 | 19356
| Home 5 kWh | 23611.1111 | 14299.7827
| Home 10 kWh | 22685.1852 | 14299.7827
| C&I turnkey | 30000 | 7742.4
| LFP cells | 6290.7 | 5442.1807
| ELIIY POWER YIILE 3 for reference (₹/kWh): | 268038.848

## Market Benchmarks
Battery & BESS Price Benchmarks – India vs China (2025–26)
Context for OEM rates above. Blue = published figure.
Market | Metric | Value | Unit | ₹ equivalent | ₹ unit | Date | Source
China | 314 Ah LFP storage cell (InfoLink avg) | 0.365 | CNY/Wh | 4947.437 | ₹/kWh | Apr 2026 | S33
China | 280/314 Ah LFP storage cell (tax-incl.) | 0.36 | CNY/Wh | 4879.6639 | ₹/kWh | Jul 2026 | S34
China | 100 Ah LFP cell | 0.443 | CNY/Wh | 6004.6975 | ₹/kWh | Jul 2026 | S34
China | 2-h DC-side liquid-cooled ESS (avg) | 0.49 | CNY/Wh | 6641.7647 | ₹/kWh | Apr 2026 | S33
China | C&I ESS system (SMM avg) | 80 | USD/kWh | 7742.4 | ₹/kWh | Dec 2025 | S31
China | C&I / data-centre turnkey (BNEF avg) | 77 | USD/kWh | 7452.06 | ₹/kWh | 2025 | S32
China | Utility turnkey ESS (BNEF avg) | 66 | USD/kWh | 6387.48 | ₹/kWh | 2025 | S32
China | Grid-scale EPC, 4-h (avg winning bid) | 140 | USD/kWh | 13549.2 | ₹/kWh | Q1 2026 | S41
India | Battery procurement price (Crisil) | 72.5 | USD/kWh | 7016.55 | ₹/kWh | 2026 | S35
India | Battery price (IESA) | 57.5 | USD/kWh | 5564.85 | ₹/kWh | Jun 2026 | S36
India | LFP home battery (retail range mid) | 27500 | INR/kWh | 27500 | ₹/kWh | 2026 | S26
India | C&I 1 MWh turnkey (mid of ₹2.8–3.2 cr) | 30000 | INR/kWh | 30000 | ₹/kWh | 2026 | S30
India | Standalone BESS tariff, 4-h (Rajasthan L1) | 285000 | INR/MW/month | 285000 | ₹/MW/month | Nov 2025 | S38
India | Standalone BESS tariff, 2-h (Kerala L1) | 181000 | INR/MW/month | 181000 | ₹/MW/month | Jan 2026 | S37
India | Standalone BESS tariff, 2-h (lowest L1 tracked) | 148000 | INR/MW/month | 148000 | ₹/MW/month | May 2026 | S39

## Sources
Sources
ID | Description | URL
S1 | ELIIY Power – English home & news (Dakar 2021, Suzuki alliance) | https://www.eliiypower.co.jp/english
S2 | HY battEliiy P-series spec page | https://www.eliiypower.co.jp/english/products-en/motorcycle-en/hybattery-p-en
S3 | HY battEliiy P-series – Suzuki models (HY93SS / HY110SS) | https://www.eliiypower.co.jp/english/products-en/motorcycle-en/hybattery-p2-en
S4 | MONOist – HY93-C / HY110 aftermarket launch & prices (Mar 2019) | https://monoist.itmedia.co.jp/mn/articles/1903/25/news050.html
S5 | BicCamera – POWER YIILE 3 PPS-30 price & specs | https://www.biccamera.com/bc/item/6450611/
S6 | Taiyoko-kakaku – POWER YIILE 3 specs (cycles, size, weight) | https://www.taiyoko-kakaku.jp/product/eliiypower3
S7 | POWER iE5 GRID catalogue (PDF) | https://www.eliiypower.co.jp/files/pdf/catalog_PiE5G.pdf
S8 | POWER YIILE HEYA press release (Jul 2019) | https://www.eliiypower.co.jp/files/pdf/20190726.pdf
S9 | POWER YIILE HEYA S press release (Aug 2019) | https://www.eliiypower.co.jp/files/pdf/20190830.pdf
S10 | Power Storager GX catalogue (Feb 2025) | https://eliiypower.co.jp/files/pdf/catalog_PS-GX_202502.pdf
S11 | Power Storager X catalogue | https://www.eliiypower.co.jp/files/pdf/catalog_PowerStragerX.pdf
S12 | Power Storager D20 press release (Feb 2021) | https://www.eliiypower.co.jp/files/pdf/20210218.pdf
S13 | Power Storager 10 press release (Nov 2012) | https://www.eliiypower.co.jp/files/pdf/20121121.pdf
S14 | 270 kWh custom system page | https://www.eliiypower.co.jp/english/products-en/custom-en/270kwh-en
S15 | ELIIY ONE page | https://www.eliiypower.co.jp/english/products-en/general-en/stand-alone-en/eliiyone-en
S16 | POWER iE6 HYBRID release (Feb 2015) | https://www.eliiypower.co.jp/files/english/pdf/20150224_Release.pdf
S17 | ELIIY Power battery cell key technology | https://www.eliiypower.co.jp/english/technical-en/1oc9y
S18 | Enphase battery-pack supply deal (Oct 2015) | https://www.eliiypower.co.jp/files/english/pdf/20151016_Release.pdf
S19 | BEST Magazine – 12,000 cycles >80%, plant capacity | https://www.bestmag.co.uk/?p=25275
S20 | MONOist – Power Storager GX briefing (May 2025) | https://monoist.itmedia.co.jp/mn/spv/2505/30/news079_2.html
S21 | NTT Docomo shops – POWER YIILE 3 delivery (Jun 2019) | https://www.eliiypower.co.jp/files/pdf/20190606.pdf
S22 | Meiji Yasuda Life – POWER YIILE 3 delivery (Apr 2019) | https://www.eliiypower.co.jp/files/pdf/20190417.pdf
S23 | Daiwa House rental housing adoption (Jul 2016) | https://www.eliiypower.co.jp/files/pdf/20160701.pdf
S24 | IndiaMART – Exide Bikerz VRLA dealer prices | https://m.indiamart.com/saffron-engineering/photos.html
S25 | Skyrich LiFePO4 motorcycle battery dealer prices (EU) | https://meinhartje.com/en/print/product/4028973e78507c2d017850b988af798d
S26 | QuickEstimate – India solar battery prices 2026 (Luminous/Exide, ₹/kWh) | https://quickestimate.co/blog/solar-battery-price-india
S27 | Qbits Energy – India solar battery brands 2026 | https://qbitsenergy.com/blog/best-solar-battery-brands-india-2026/
S28 | EcoFlow River 2 Pro 768 Wh deal price | https://deals.christianpost.com/daily-deals/ef-ecoflow-river-2-pro-portable-power-station-768wh-lifepo4-now-315
S29 | ENF – LiFePower ALW 5 kWh all-in-one factory price | https://www.enfsolar.com/pv/storage-system-datasheet/12224
S30 | DCNT Global – India C&I BESS buyer's guide 2026 | https://www.dcntglobal.com/?p=5380
S31 | SMM – energy storage prices (C&I ESS USD/Wh) | https://www.metal.com/en/markets/38
S32 | BNEF China storage price survey (via analyst post) | https://cn.linkedin.com/in/sonnyzxn
S33 | ESS News – China 314 Ah cell prices (Apr 2026) | https://www.ess-news.com/2026/04/22/chinas-314-ah-storage-cell-prices-climb-more-than-20-in-six-months/
S34 | Les Énergies Renouvelables – LFP cell prices Jul 2026 | https://www.les-energies-renouvelables.eu/article/actualites/energies/le-marche-du-lithium-se-retourne-ce-que-cela-change-vraiment-pour-votre-batterie-solaire-1657/
S35 | TaiyangNews – Crisil India BESS outlook | https://taiyangnews.info/storage/crisil-projects-india-add-50-gwh-bess-fy2028
S36 | Business Today – IESA President column (Jun 2026) | https://www.businesstoday.in/magazine/columns/story/the-fairytale-of-bess-in-india-iesa-president-debamalya-sen-537516-2026-06-17
S37 | Energetica India – Kerala & TN BESS tenders (Feb 2026) | https://www.energetica-india.net/news/tngecl-and-nvvn-kerala-bess-tenders-close-at-lower-than-expected-tariffs
S38 | pv magazine – Rajasthan record-low 4-h BESS tariff | https://www.pv-magazine.com/?p=66084
S39 | REGlobal – India storage pipeline Feb–May 2026 | https://reglobal.org/growing-pipeline-indias-battery-storage-market-moves-towards-larger-scale-deployment/
S40 | banklive.net – USD/INR & JPY/INR (10 Oct 2026) | https://banklive.net/en/convert/usd-to-inr
S41 | China Q1 2026 EPC bid prices (analyst post citing BNEF) | https://nl.linkedin.com/in/s7sara
S42 | ELIIY Power & Suzuki investment / alliance (Nov 2023) | https://www.eliiypower.co.jp/english/pressrelease-en/20231114_e

## How Prices Were Got
How the Prices Were Obtained
Column | Method | Confidence
ELIIY prices | Only two public price points exist. POWER YIILE 3: retail listing on BicCamera.com (¥1,097,800 incl. tax). HY93-C / HY110: Japanese launch list prices reported by MONOist, 2019 (¥37,790 / ¥44,460 ex-tax). All other ELIIY products are sold on quotation only. | High (list)
Indian OEM – starters | Exide Bikerz VRLA dealer prices on IndiaMART (₹1,386–2,045). Used because Indian 2W OEMs still factory-fit lead-acid; no Indian Li-ion OEM starter rate is published. | Medium
Indian OEM – home ESS | Published 2026 price ranges for Luminous / Exide 5 and 10 kWh LFP (QuickEstimate) and Livguard / LOOM 2.4 kWh modules (Qbits Energy). These are distributor/retail ranges, not OEM contract rates. | Medium
Indian OEM – C&I and cells | C&I: ₹2.8–3.2 cr per MWh turnkey (DCNT Global 2026 buyer's guide). Cells: landed battery prices from IESA ($55–60/kWh) and Crisil ($70–75/kWh). | Medium
Chinese OEM – home ESS | Factory price list on ENF Solar for a 5.12 kWh all-in-one unit: €741 (100–199 pcs), €723 (200+ pcs). | High (list)
Chinese OEM – C&I and cells | SMM price index ($0.07–0.09/Wh C&I systems), BNEF survey ($77/kWh), InfoLink and ECOinfos cell indices (CNY 0.360–0.443/Wh). | High (index)
Chinese OEM – starters & portable | ESTIMATES (yellow). No public factory price found. Based on EU dealer prices for Chinese-made Skyrich LiFePO4 starters (€45–86) and EcoFlow retail (~$0.41/Wh), discounted to typical factory FOB levels. | Low – RFQ needed
Currency | Mid-market FX on 10 Oct 2026 (banklive.net). Change the yellow cells on the Assumptions tab to re-price everything. | High